5" Fireproof Wall Mount Speaker (3W-6W)                       
FFS-406

Feature:

- Commercial fireproof wall mount speaker with transformer

- Ideal for school, office, hotel and airport voice evacuation and PA system

- Compliant with the EN54-24 EVAC standard

- Ceramic connector, fire dome, 95℃ fire-resistant cable and thermal fuse

- Rated power output 3W-6W at 100V

- 5" full range paper non-flammable driver unit

- Line input 100V or 70V with transformer

- Steel enclosure, steel grille and fire dome in white RAL7035

- Wall mount or surface mount quick installation by screw hole

Specification:

| Model | FFS-406 |
| --- | --- |
| Description | Fireproof Wall Mount Speaker |
| Rated Power Output | 3W-6W |
| Line Input | 100V or 70V |
| Frequency Response | 120-10KHz |
| SPL(@1W/m) | 92dB |
| Speaker Unit | 5” full range paper non-flammable driver unit |
| Dimension | 160(W)×160(D)×60(H)mm |
| Material | Steel enclosure, steel grille and fire dome in white RAL7035 |
| Mounting Way | Quick installation by hanging screw hole |

Mounting, Dimension & Side View:

Frequency Response & SPL Diagram: