**6" Coaxial Ceiling Speaker (7.5W-15W-30W)
FCS-630C**

**Feature:**

* Commercial ceiling speaker with transformer
* Ideal for school, office, hotel and airport background music system
* Rated power output 7.5W-15W-30W at 100V
* 6" coaxial paper woofer and 1.5” tweeter
* Line input 100V or 70V
* ABS enclosure and metal grille in white
* Flush mount in-ceiling quick and secure installation

**Specification：**

|  |  |
| --- | --- |
| **Model** | **FCS-630C** |
| **Description** | 6” Coaxial Ceiling Speaker  |
| **Rated Power Output** | 7.5W/15W/30W |
| **Line Input** | 100V or 70V |
| **Frequency Response** | 110-18KHz |
| **SPL(@1W/m)** | 93dB |
| **Speaker Unit** | 6" coaxial paper woofer and 1.5” tweeter |
| **Cutout Size** | 195mm |
| **Dimension** | 230(D)×85(H)mm |
| **Material** | ABS enclosure and metal grille in white |
| **Mounting Way** | Flush mount in-ceiling quick and secure installation |
| **Weight** | 0.9kg |

**![C:\Users\Eric\AppData\Roaming\Tencent\Users\287912804\QQ\WinTemp\RichOle\DWUEM]{]S%6_6TIIXJL$6ZB.png]()**

**Dimension & Mounting:**

**Frequency Response & SPL Diagrams：**

