5" Wall Mount Speaker (3W/6W)                                                                                                  
FWS-606

Feature:

- Commercial PA system wall mount speaker with transformer

- Ideal for school, office, hotel and airport background music system

- Rated power output 6W at 100V

- 5" full range paper driver unit

- Line input 100V or 70V

- ABS enclosure and metal grille in white

- Quick installation by screw hanging hole

Specification:

| Model | FWS-606 |
| --- | --- |
| Description | Wall Mount Speaker |
| Rated Power Output | 3W/6W |
| Line Input | 100V or 70V |
| Frequency Response | 130-15KHz |
| SPL(@1W/m) | 92dB |
| Speaker Unit | 5” full range paper cone |
| Dimension | 312(W)×210(D)×85(H)mm |
| Net Weight | 1.7kg |
| Material | ABS enclosure and metal grille in white |
| Mounting Way | Quick installation by screw hanging hole |
| Gross Weight | 17kg |

Dimension & Mounting:

Frequency Response & SPL Diagrams: