FWS-620

4.5” Outdoor Waterproof Wall Mount Speaker (2.5W/5W/10W/20W)

Feature:

- Commercial PA system wall mount speaker with transformer

- Waterproof wall mount speaker of outdoor used

- Ideal for SPA, washroom, shower room and clean room background music system

- Rated power output 2.5W/5W/10W/20W  at 100V&8ohms

- 4.5” woofer and 0.75” tweeter

- Waterproof rate of IP65 for outdoor used

- Line input 100V,70V&8ohms

- ABS enclosure and metal grille in white and black color

- Quick installation by 360 degree bracket

Specification:

| Model | FWS-620 |
| --- | --- |
| Description | 4.5” Weatherproof Wall Mount Speaker |
| Rated Power Output | 2.5W/5W/10W/20W |
| Line Input | 100V ,70V&8ohms |
| Frequency Response | 120-15KHz |
| SPL(@1W/m) | 86dB（1W/1M） |
| Speaker Unit | 4.5”*1 woofer, 0.75”*1 tweeter |
| IP Rate | Waterproof IP65 |
| Dimension | 141(W)×138(D)×243(H)mm |
| Material | ABS enclosure and Metal grille in black |
| Mounting Way | 360 degree install wall mount bracket |
| Weight | 1.95KG |
| Packing | 470*420*375 4PCS/Carton |

Frequency Response & SPL Diagrams