5" Two Way Wall Mount Speaker (30W)                                                             
FWS-530                                                                                                                                                                                                                                                                                                                                                                                                                  

Feature:

- Commercial PA system wall mount speaker with transformer

- Ideal for school, office, hotel and airport background music system

- Economy rang fashion wall mount cabinet loudspeaker

- Rated power output 30W at 100V

- 5" woofer and 1.5” tweeter two way speaker units

- Line input 100V or 70V

- ABS enclosure, metal grille in black

- Quick installation by supplied stainless mounting bracket

Specification:

| Model | FWS-530 |
| --- | --- |
| Description | 5” Two Way Wall Mount Speaker |
| Rated Power Output | 30W |
| Line Input | 100V or 70V |
| Frequency Response | 100-20KHz |
| SPL(@1W/m) | 89dB |
| Speaker Unit | 5” woofer and 1.5” tweeter two way speaker units |
| Dimension | 275 (W)×185(D)×170(H)mm |
| Material | ABS enclosure and metal grille in black |
| Mounting Way | Quick installation by supplied stainless mounting bracket |
| Weight | 3.1kg |

Side View & Dimensions:

Frequency Response VS SPL Diagram: