PA System Weekly Timer with Mp3 & FM

FTD-8WT

Features:

•     Public address system intelligent controller.

•     Ideal PA sound system controller for school, shopping mall, hotel, and intelligent office etc.

•     All in one intelligent PA system controller built in weekly timer, 8 zone speaker selector, Mp3 player & FM, fire alarm and voice evacuation system interface, monitor and programmable power sequencer.

•     One amplifier or 4 amp inputs divided into 8 zones speaker output.

•     Built-in 5W hi-fi monitor speaker with volume control.

•     With one microphone input, one line input, one USB input and one EMC input and two line outputs

•     Auto timely broadcast up to 99 program sources.

•     Broadcast modes: random, repeat and circle.

•     4 regular programs and 1 spare program for emergency/particular circumstance.

•     Functional swift key for internal MP3 player priority manual broadcast.

•     Flash memory capacity support 4GB and 8GB.

•     Audio source format support Mp3/MAV and WMA

•     The system communication distance up to 1kms

•     Memory function even in case of power off.

Specification:

| Model | FTD-8WT |
| --- | --- |
| Description | PA System Weekly Timer with Mp3 & FM |
| Amplifier Input | 1 or 4 Amplifier inputs |
| Zone Output | 8 zone speaker outputs, 100V or 70V |
| Mic1. Input | 5~8mV , 600ohms(Ω),unbalanced |
| Line1 Input | 300mV , 10k ohms(Ω),unbalanced |
| Line1-2 Output | 500mV 10k ohms(Ω),unbalanced |
| Memory Capacity | 4GB |
| Program AC Power Outputs | 4 outputs |
| Monitor Speaker | Full range speaker 5w, 8ohms, hi-fi |
| S/N Ratio | >90dB |
| Frequency Response | 20Hz~ 18KHz |
| Power Cable | (3×1.5 mm2)×1.5M |
| Power Supply | AC220V or 115V, 50-60Hz |
| Power Consumption | 15~20W |
| Dimension | 89(H)×483(W)×350(D)mm |
| Net Weight | 6.42kg |