8 Channel Power Sequencer                                                                       
FY-8PS

Feature:

- 19” rack mount power sequencer for low voltage system and PA sound system

- 8 channel power sequencer to manual or auto power control the amplifier

- By using this programmable power sequencer to power on/off the amplifier in sequence to avoid high current to damage the amplifier or the power supply system

- The interval time is 1.5 seconds between 2 channel actions

- With universal power socket compatible for European, British and Chinese power plug

- Each channel with working status on front panel for monitor use

- Maximum loading capacity is 6,000 watts for total 8 channels

- Each channel maximum output current is 10A

- Total 8 channel maximum output current is 30A

- With remote power control terminal open circuit to power on and short circuit to power off this unit

- AC 115V or 230W power operation, 50-60Hz

Specification:

| Model | FY-8PS |
| --- | --- |
| Description | 8 Channel Power Sequencer |
| Power Consumption | 25W |
| Total Output Current | 30A, 6,000W |
| Each Channel Output Current | 10A, 750W |
| Interval Time | 1.5 second |
| Indicators | 8 channel working status on front panel |
| Power Socket | Multi-functional socket European, British and Chinese power plug |
| Remote Power Control | Remote power control terminal open circuit to power on and short circuit to power off this unit |
| Dimension | 425(W)×265(D)×44(H)mm |
| Weight | 3.42kg |
| Warranty | 3 years |